## CSV Template
ID | MARK | PN | MANUFACTURER | MANUFACTURER PART # | DESCRIPTION | QTY | W | H | D
1 | SCB1 | SPCB=SU201M-C13 | ABB | SU201M-C13 | MINIATURE CIRCUIT BREAKER, 230 VAC, 13A, 1 POLE, C-CURVE TRIP | 1 | 17.5 | 111 | 0
2 | SCB2, SCB3 | SPCB=SU201M-C4 | ABB | SU201M-C4 | MINIATURE CIRCUIT BREAKER, 230 VAC, 4A, 1 POLE, C-CURVE TRIP | 2 | 17.5 | 111 | 0
3 | N7 | ELCO=ACUVIM-AXM-WEB2 | Accuenergy | AXM-WEB2 | MULTIFUNCTION POWER AND ENERGY METER COMMUNICATION MODULE | 1 | 0 | 0 | 0
4 | N7 | ELCO=ACUVIM-CL-M-5A-P1V4 | Accuenergy | Acuvim-CL-M-5A-P1V4 | MULTIFUNCTION POWER AND ENERGY METER, 1-5A, 100-415 VAC | 1 | 96 | 96 | 0
5 | CT1, CT2, CT3 | INCT=2031-1001 | Accuenergy | AcuCT-2031-1000:5 | SPLIT-CORE CURRENT TRANSFORMER, 1000:5A | 3 | 114 | 145 | 0
6 | N2 | ELTO=TPC-107WX | Advantech Corp | TPC-107WX-N32YA | TOUCH SCREEN HMI, 7" SCREEN, 2GB RAM, 16GB STORAGE, -30C TO 70C | 1 | 205 | 146.92 | 0
7 | S2, S3 | ELSE=PS21L-NS11R1-T00 | Carlo Gavazzi | PS21L-NS11R1-T00 | SWITCH LIMIT, ROLLER LEVER, SPST-NO, SPST-NC, 10A | 2 | 0 | 0 | 0
8 | PS1 | ELSE=DPS-AFS262 | Cleveland Controls | AFS-262 | DIFFERENTIAL PRESSURE SWITCH, 0.05-2" WC, ADJUSTABLE, SPDT | 1 | 83 | 156 | 0
9 | M1 | ENCF=AFK300-7P5HP-480V-ST | Continental Fan | AFK300-J2-A181A09 | DIRECT DRIVE PANEL FAN, 7.5 HP, 1750 RPM, 5.5A, 480VAC, 3 PHASE | 1 | 0 | 0 | 0
10 | FC1, FC2, FC3, FC4, FC5, FC6, FC7, FC8, FC9, FC10, FC11, FC12, FC13, FC14, FC15, FC16, FC17, FC18, FC19, FC20, FC21, FC22, FC23, FC24, FC25, FC26, FC27, FC28, FC29, FC30, FC31, FC32, FC33, FC34, FC35, FC36, FC37, FC38, FC39, FC40, FC41, FC42, FC43, FC44, FC45, FC46, FC47, FC48, FC49, FC50, FC51, FC52, FC53, FC54, FC55, FC56, FC57, FC58, FC59, FC60, FC61, FC62, FC63, FC64, FC65, FC66, FC67, FC68, FC69, FC70, FC71, FC72, FC73, FC74, FC75 | SPFU=690V-40A-BS88 | Eaton Bussmann | 40FE | FUSE 40A, 690VAC, 500VDC, 200kA BREAKING CAPACITY | 75 | 0 | 0 | 0
11 | M2 | ENCF=FF-8-81-120VAC | Finder Components | 7F.30.8.120.3100 | COOLING FAN, UL TYPE NEMA 3R / IP54, 120 VAC, 1.14 A, 81 CFM | 1 | 0 | 0 | 0
12 | CPT1 | INPT=SP1000ACP | Hammond | SP1000ACP | CONTROL POWER TRANSFORMER, 1000VA | 1 | 133.35 | 111 | 138.94
13 | C1, C2, C3, C4, C5, C6, C7, C8, C9, C10, C11, C12, C13, C14, C15, C16, C17, C18, C19, C20, C21, C22, C23, C24, C25 | SPCO=DP-600X120-40A-3NO | Hecheng Electric | SA-3P-40A-120V | CONTACTOR, 3 POLES, 40A, 120VAC | 25 | 73.66 | 95.25 | 76.2
14 | N3 | ELNW=VPN-IN302 | InHand | IR302 | COMPACT INDUSTRIAL LTE CAT 4 ROUTER WITH 2 ETHERNET PORTS | 1 | 25 | 90 | 0
15 | F12, F13, F14, F4, F5, F6 | SPFU=600V-1A | Mersen | ATMR1 | FUSE 1A, 600V, FAST ACTING CLASS CC | 6 | 0 | 0 | 0
16 | F1, F2, F3 | SPFU=600V-25A-TD | Mersen | ATQR25 | FUSE 25A, 600V, TIME DELAY CLASS CC | 3 | 0 | 0 | 0
17 | F101, F102, F103 | SPFU=600V-3A | Mersen | USCC1 / ATMR3 | FUSE 3A, 600V, FAST ACTING CLASS CC | 3 | 0 | 0 | 0
18 | F7, F8 | SPFU=600V-4A-TD | Mersen | ATQR4 | FUSE 4A, 600V, TIME DELAY CLASS CC | 2 | 0 | 0 | 0
19 | F9, F10, F11 | SPFU=600V-6A | Mersen | USCC1 / ATMR6 | FUSE 6A, 600V, FAST ACTING CLASS CC | 3 | 0 | 0 | 0
20 | F7, F8, F12, F13, F14, F9, F10, F11, F4, F5, F6, F101, F1, F2, F3, F102, F103 | SPFU=HO | Mersen | USCC1 | MODULAR FUSE HOLDER, CLASS CC | 17 | 17.5 | 78 | 0
21 | H3 | IDLA=R120AC | NHD Industrial | NLD22-RE | RED PILOT LIGHT, 120 VAC | 1 | 0 | 0 | 0
22 | S1 | SPPB=1NC-CB-01 | NHD Industrial | CB-01 | PUSH-BUTTON CONTACT BLOCK, NC, 22mm | 1 | 0 | 0 | 0
23 | S4 | SPSS=02 | NHD Industrial | NSS22-S210B | SELECTOR SWITCH, 2 POS | 1 | 0 | 0 | 0
24 | H2 | IDLA=Y120AC | NHD Industrial | NLD22-YE | YELLOW PILOT LIGHT, 120 VAC | 1 | 0 | 0 | 0
25 | H1 | IDLA=G120AC | NHD Industrial | NLD22-GE | GREEN PILOT LIGHT, 120 VAC | 1 | 0 | 0 | 0
26 | S1 | SPPB=EMER | NHD Industrial | NLB22-R | EMERGENCY PUSH-BUTTON NC, IP65, 22mm, ILLUMINATED, 120V AC/DC | 1 | 0 | 0 | 0
27 | N1 | ELPS=24VDC-60W | Phoenix Contact | 2902992 | UNO POWER SUPPLY, 24VDC, 60W | 1 | 35 | 90 | 0
28 | EP1, EP2, EP3 | ELNW=CON-RJ45 | Rean | RRE8F-Z-011-1 | IP65 RJ45 FEED THROUGH ETHERNET CONNECTOR (FEMALE TO FEMALE) | 3 | 0 | 0 | 0
29 | TC1, TC2, TC3 | ELSE=TCK-10M-150MM | RPD | RPD-TP-R-05874 | TYPE K THERMOCOUPLE, 6*150mm, 1/2NPT, 10 METER WIRE | 3 | 0 | 0 | 0
30 | RM1 | SPLD=RM17TU | Schneider Electric | RM17TU00 | RELAY OUTPUT MONITORS, 208-480 VAC | 1 | 17.5 | 90 | 72
31 | CB1 | SPLD=MMS-3RV2-10A | Siemens | 3RV2011-1JA10 | MANUAL MOTOR PROTECTOR, 7-10A ADJUSTABLE, 600VAC, THERMAL/MAGNETIC TRIP | 1 | 45 | 97 | 97
32 | CB1 | SPLD=MMS-3RA1921-1DA00 | Siemens | 3RA1921-1DA00 | CONNECTION BRACKET FOR MOTOR STARTER AND CONTACTOR | 1 | 0 | 0 | 0
33 | CB1 | SPLD=MMS-3RV2901-1E | Siemens | 3RV2901-1E | AUXILIARY CONTACT, 1NO-1NC, 6A | 1 | 0 | 0 | 0
34 | K2, K3 | SPCO=3RT-12A-4NO | Siemens | 3RT2017-1AF01 | CONTACTOR, 3NO+1NO AUX. CONTACT, 12A, 120VAC | 2 | 45 | 57.5 | 73
35 | K1 | SPCO=3RT-16A-4NO | Siemens | 3RT2018-1AF01 | CONTACTOR, 3NO+1NO AUX. CONTACT, 16A, 120VAC | 1 | 45 | 57.5 | 73
36 | DS1 | SPLD=BASE-22003002 | Socomec | 22003002 | DISCONNECT SWITCH, 3POLE, 600V, 25A | 1 | 0 | 0 | 0
37 | DS1 | SPLD=HA-DM-22993409 | Socomec | 22993409 | DOOR MOUNTING HARDWARE, S0 AND S00 TYPE | 1 | 0 | 0 | 0
38 | DS1 | SPLD=HA-SOCO | Socomec | 14731111 | ROTARY HANDLE, 2 POSITION, S00 TYPE | 1 | 0 | 0 | 0
39 | DS1 | SPLD=SHAFT-SOCO | Socomec | 14070532 | SHAFT FOR INTERLOCKING WITH DOOR, 320mm, S0 AND S00 TYPE HANDLES | 1 | 0 | 0 | 0
40 | RT1 | ENHE=TS-NO-60C | Stego | 111010-00 | THERMOSTAT, ADJUSTABLE, NO, 0 - 60 ºC | 1 | 0 | 0 | 0
41 | H4, H5 | ENLA=120V-400LM-351MM | Stego | 025403-11 | STEGO ECOLINE LED ENCLOSURE LIGHT, 100-240 VAC / 90-110 VDC, OFF/ON SWITCH | 2 | 0 | 0 | 0
42 | Q2 | ENHE=HYGROTHERM | Stego | 012300-00 | HYGROTHERM, ABJUSTABLE, 0 - 60 DEG C, 50% - 90% RELATIVE HUMIDITY, 2K/4% RH | 1 | 60 | 77 | 43
43 | E1 | ELPO=120V-20A | Wago | 51012218 | RECEPTACLE, 20A, DIN-RAIL MOUNT, OUTLET | 1 | 45 | 109 | 0
44 | U1, U2, U3, U4, U5, U6, U7, U8, U9, U10, U11, U27, U26, U12, U13, U14, U15, U16, U17, U18, U19, U20, U21, U22, U23, U24, U25, U28, U29, U30, U31, U32 | ELAR=TRPL-24V-1NO | Weidmüller | TRPL 24VDC 1NO | SLIM INTERPOSING RELAY, 1NO CONTACT, 24VDC | 32 | 6.4 | 89.4 | 62.5
45 | NM1 | ELCO=UR20-16DI-P | Weidmüller | UR20-16DI-P | UC20 16-CHANNEL DIGITAL INPUT MODULE | 1 | 11.5 | 120 | 0
46 | NM3, NM5 | ELCO=UR20-16DO-PLC | Weidmüller | UR20-16DO-P-PLC-INT | UC20 16-CHANNEL DIGITAL OUTPUT MARSHALLING ADAPTER VERSION | 2 | 11.5 | 120 | 0
47 | NM4, NM6 | ELCO=UR20-TIAL-F20 | Weidmüller | TIAL F20 | UC20 20 PIN ADAPTER FOR RELAY MARSHALLING | 2 | 102 | 120 | 0
48 | NM3, NM5 | ELCO=UR20-TIAU-20-1M | Weidmüller | SP-CBL-TIAU-20-20 1M | UC20 20-PIN TO 20-PIN CONNECTOR CABLE FOR RELAY MARSHALLING | 2 | 0 | 0 | 0
49 | N4 | ELCO=UC20-WL2000 | Weidmüller | UC20-WL2000-AC | UC20 CONTROLLER | 1 | 52 | 120 | 0
50 | NM2 | ELCO=UR20-4AI-TC | Weidmüller | UR20-4AI-TC-DIAG | UC20 THERMOCOUPLES 4-CHANNEL INPUT MODULE | 1 | 11.5 | 120 | 0
51 | N6, N5 | ELNW=ETH-EL-05 | Weidmüller | IE-SW-EL05-5TX | UNMANAGED 5 PORT ETHERNET SWITCH | 2 | 26 | 95 | 0
52 | R1, R2, R3 | ELAR=TRP-24V-2CO | Weidmüller | TRP 24VDC 2CO | INTERPOSING RELAY, 2CO CONTACTS, 24VDC | 3 | 13 | 90 | 0
53 | TB1 6, TB3 1, TB3 2, TB3 3, TB3 4, TB3 5, TB3 7, TB3 6, TB5 1, TB5 2, TB5 3, TB5 4, TB5 5, TB5 6, TB6 1, TB6 2, TB6 3, TB6 4, TB6 5, TB6 6, TB6 7, TB6 8, TB6 9, TB3 8, TB3 9, TB3 10, TB3 11, TB3 12, TB3 13, TB1 1, TB1 3, TB1 5, TB1 7, TB1 8, TB1 10, TB1 12, TB1 13, TB1 14, TB2 1, TB2 2, TB2 3, TB2 4, TB1 15, TB1 4, TB1 11, TB2 5, TB1 16, TB2 6, TB1 9, TB1 2, TB1 17, TB6 10, TB6 11 | TEDI=A2C4 | Weidmüller | A2C4 | FEED-THROUGH TERMINAL, PUSH IN, 4mm, 800V, 32A, #10-28 AWG | 53 | 6.1 | 60 | 39.5

## Size DB
PN | MANUFACTURER | MANUFACTURER PART # | DESCRIPTION | Note | W (mm) | H | D | W (in) | H | D
SPCB=SU201M-C13 | ABB | SU201M-C13 | MINIATURE CIRCUIT BREAKER, 230 VAC, 13A, 1 POLE, C-CURVE TRIP |  | 17.5 | 111 | 0 | 0.68898 | 4.3701 | 0
SPCB=SU201M-C4 | ABB | SU201M-C4 | MINIATURE CIRCUIT BREAKER, 230 VAC, 4A, 1 POLE, C-CURVE TRIP |  | 17.5 | 111 |  | 0.68898 | 4.3701 | 0
ELCO=ACUVIM-AXM-WEB2 | Accuenergy | AXM-WEB2 | MULTIFUNCTION POWER AND ENERGY METER COMMUNICATION MODULE | Accessories | 0 | 0 |  | 0 | 0 | 0
ELCO=ACUVIM-CL-M-5A-P1V4 | Accuenergy | Acuvim-CL-M-5A-P1V4 | MULTIFUNCTION POWER AND ENERGY METER, 1-5A, 100-415 VAC |  | 96 | 96 |  | 3.7795 | 3.7795 | 0
INCT=2031-1001 | Accuenergy | AcuCT-2031-1000:5 | SPLIT-CORE CURRENT TRANSFORMER, 1000:5A |  | 114 | 145 |  | 4.4882 | 5.7087 | 0
ELTO=TPC-107WX | Advantech Corp | TPC-107WX-N32YA | TOUCH SCREEN HMI, 7" SCREEN, 2GB RAM, 16GB STORAGE, -30C TO 70C |  | 205 | 146.92 |  | 8.0709 | 5.7843 | 0
ELSE=PS21L-NS11R1-T00 | Carlo Gavazzi | PS21L-NS11R1-T00 | SWITCH LIMIT, ROLLER LEVER, SPST-NO, SPST-NC, 10A | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
ELSE=DPS-AFS262 | Cleveland Controls | AFS-262 | DIFFERENTIAL PRESSURE SWITCH, 0.05-2" WC, ADJUSTABLE, SPDT |  | 83 | 156 |  | 3.2677 | 6.1417 | 0
ENCF=AFK300-7P5HP-480V-ST | Continental Fan | AFK300-J2-A181A09 | DIRECT DRIVE PANEL FAN, 7.5 HP, 1750 RPM, 5.5A, 480VAC, 3 PHASE | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPFU=690V-40A-BS88 | Eaton Bussmann | 40FE | FUSE 40A, 690VAC, 500VDC, 200kA BREAKING CAPACITY | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
ENCF=FF-8-81-120VAC | Finder Components | 7F.30.8.120.3100 | COOLING FAN, UL TYPE NEMA 3R / IP54, 120 VAC, 1.14 A, 81 CFM | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
INPT=SP1000ACP | Hammond | SP1000ACP | CONTROL POWER TRANSFORMER, 1000VA |  | 133.35 | 111 | 138.94 | 5.25 | 4.3701 | 5.4701
SPCO=DP-600X120-40A-3NO | Hecheng Electric | SA-3P-40A-120V | CONTACTOR, 3 POLES, 40A, 120VAC |  | 73.66 | 95.25 | 76.2 | 2.9 | 3.75 | 3
ELNW=VPN-IN302 | InHand | IR302 | COMPACT INDUSTRIAL LTE CAT 4 ROUTER WITH 2 ETHERNET PORTS |  | 25 | 90 |  | 0.98425 | 3.5433 | 0
SPFU=600V-1A | Mersen | ATMR1 | FUSE 1A, 600V, FAST ACTING CLASS CC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPFU=600V-25A-TD | Mersen | ATQR25 | FUSE 25A, 600V, TIME DELAY CLASS CC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPFU=600V-3A | Mersen | USCC1 / ATMR3 | FUSE 3A, 600V, FAST ACTING CLASS CC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPFU=600V-4A-TD | Mersen | ATQR4 | FUSE 4A, 600V, TIME DELAY CLASS CC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPFU=600V-6A | Mersen | USCC1 / ATMR6 | FUSE 6A, 600V, FAST ACTING CLASS CC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPFU=HO | Mersen | USCC1 | MODULAR FUSE HOLDER, CLASS CC |  | 17.5 | 78 |  | 0.68898 | 3.0709 | 0
IDLA=R120AC | NHD Industrial | NLD22-RE | RED PILOT LIGHT, 120 VAC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPPB=1NC-CB-01 | NHD Industrial | CB-01 | PUSH-BUTTON CONTACT BLOCK, NC, 22mm | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPSS=02 | NHD Industrial | NSS22-S210B | SELECTOR SWITCH, 2 POS | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
IDLA=Y120AC | NHD Industrial | NLD22-YE | YELLOW PILOT LIGHT, 120 VAC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
IDLA=G120AC | NHD Industrial | NLD22-GE | GREEN PILOT LIGHT, 120 VAC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPPB=EMER | NHD Industrial | NLB22-R | EMERGENCY PUSH-BUTTON NC, IP65, 22mm, ILLUMINATED, 120V AC/DC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
ELPS=24VDC-60W | Phoenix Contact | 2902992 | UNO POWER SUPPLY, 24VDC, 60W |  | 35 | 90 |  | 1.378 | 3.5433 | 0
ELNW=CON-RJ45 | Rean | RRE8F-Z-011-1 | IP65 RJ45 FEED THROUGH ETHERNET CONNECTOR (FEMALE TO FEMALE) | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
ELSE=TCK-10M-150MM | RPD | RPD-TP-R-05874 | TYPE K THERMOCOUPLE, 6*150mm, 1/2NPT, 10 METER WIRE | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPLD=RM17TU | Schneider Electric | RM17TU00 | RELAY OUTPUT MONITORS, 208-480 VAC |  | 17.5 | 90 | 72 | 0.68898 | 3.5433 | 2.8346
SPLD=MMS-3RV2-10A | Siemens | 3RV2011-1JA10 | MANUAL MOTOR PROTECTOR, 7-10A ADJUSTABLE, 600VAC, THERMAL/MAGNETIC TRIP |  | 45 | 97 | 97 | 1.7717 | 3.8189 | 3.8189
SPLD=MMS-3RA1921-1DA00 | Siemens | 3RA1921-1DA00 | CONNECTION BRACKET FOR MOTOR STARTER AND CONTACTOR | Accessories | 0 | 0 | 0 | 0 | 0 | 0
SPLD=MMS-3RV2901-1E | Siemens | 3RV2901-1E | AUXILIARY CONTACT, 1NO-1NC, 6A | Accessories | 0 | 0 | 0 | 0 | 0 | 0
SPCO=3RT-12A-4NO | Siemens | 3RT2017-1AF01 | CONTACTOR, 3NO+1NO AUX. CONTACT, 12A, 120VAC |  | 45 | 57.5 | 73 | 1.7717 | 2.2638 | 2.874
SPCO=3RT-16A-4NO | Siemens | 3RT2018-1AF01 | CONTACTOR, 3NO+1NO AUX. CONTACT, 16A, 120VAC |  | 45 | 57.5 | 73 | 1.7717 | 2.2638 | 2.874
SPLD=BASE-22003002 | Socomec | 22003002 | DISCONNECT SWITCH, 3POLE, 600V, 25A | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
SPLD=HA-DM-22993409 | Socomec | 22993409 | DOOR MOUNTING HARDWARE, S0 AND S00 TYPE | Accessories | 0 | 0 | 0 | 0 | 0 | 0
SPLD=HA-SOCO | Socomec | 14731111 | ROTARY HANDLE, 2 POSITION, S00 TYPE | Accessories | 0 | 0 | 0 | 0 | 0 | 0
SPLD=SHAFT-SOCO | Socomec | 14070532 | SHAFT FOR INTERLOCKING WITH DOOR, 320mm, S0 AND S00 TYPE HANDLES | Accessories | 0 | 0 | 0 | 0 | 0 | 0
ENHE=TS-NO-60C | Stego | 111010-00 | THERMOSTAT, ADJUSTABLE, NO, 0 - 60 ºC | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
ENLA=120V-400LM-351MM | Stego | 025403-11 | STEGO ECOLINE LED ENCLOSURE LIGHT, 100-240 VAC / 90-110 VDC, OFF/ON SWITCH | Not plate mount | 0 | 0 | 0 | 0 | 0 | 0
ENHE=HYGROTHERM | Stego | 012300-00 | HYGROTHERM, ABJUSTABLE, 0 - 60 DEG C, 50% - 90% RELATIVE HUMIDITY, 2K/4% RH |  | 60 | 77 | 43 | 2.3622 | 3.0315 | 1.6929
ELPO=120V-20A | Wago | 51012218 | RECEPTACLE, 20A, DIN-RAIL MOUNT, OUTLET |  | 45 | 109 |  | 1.7717 | 4.2913 | 0
ELAR=TRPL-24V-1NO | Weidmüller | TRPL 24VDC 1NO | SLIM INTERPOSING RELAY, 1NO CONTACT, 24VDC |  | 6.4 | 89.4 | 62.5 | 0.25197 | 3.5197 | 2.4606
ELCO=UR20-16DI-P | Weidmüller | UR20-16DI-P | UC20 16-CHANNEL DIGITAL INPUT MODULE |  | 11.5 | 120 |  | 0.45276 | 4.7244 | 0
ELCO=UR20-16DO-PLC | Weidmüller | UR20-16DO-P-PLC-INT | UC20 16-CHANNEL DIGITAL OUTPUT MARSHALLING ADAPTER VERSION |  | 11.5 | 120 |  | 0.45276 | 4.7244 | 0
ELCO=UR20-TIAL-F20 | Weidmüller | TIAL F20 | UC20 20 PIN ADAPTER FOR RELAY MARSHALLING |  | 102 | 120 |  | 4.0157 | 4.7244 | 0
ELCO=UR20-TIAU-20-1M | Weidmüller | SP-CBL-TIAU-20-20 1M | UC20 20-PIN TO 20-PIN CONNECTOR CABLE FOR RELAY MARSHALLING | Accessories | 0 | 0 | 0 | 0 | 0 | 0
ELCO=UC20-WL2000 | Weidmüller | UC20-WL2000-AC | UC20 CONTROLLER |  | 52 | 120 |  | 2.0472 | 4.7244 | 0
ELCO=UR20-4AI-TC | Weidmüller | UR20-4AI-TC-DIAG | UC20 THERMOCOUPLES 4-CHANNEL INPUT MODULE |  | 11.5 | 120 |  | 0.45276 | 4.7244 | 0
ELNW=ETH-EL-05 | Weidmüller | IE-SW-EL05-5TX | UNMANAGED 5 PORT ETHERNET SWITCH |  | 26 | 95 |  | 1.0236 | 3.7402 | 0
ELAR=TRP-24V-2CO | Weidmüller | TRP 24VDC 2CO | INTERPOSING RELAY, 2CO CONTACTS, 24VDC |  | 13 | 90 |  | 0.51181 | 3.5433 | 0
TEDI=A2C4 | Weidmüller | A2C4 | FEED-THROUGH TERMINAL, PUSH IN, 4mm, 800V, 32A, #10-28 AWG |  | 6.1 | 60 | 39.5 | 0.24016 | 2.3622 | 1.5551
ENHE=HYGROTHERM-ALFA | Alfa Electric | ETUH22.AA0 | HYGROTHERM, ABJUSTABLE, 0 - 60 DEG C, 20% - 90% RELATIVE HUMIDITY, 1K/1% RH, 24-72VDC / 24-250VAC |  | 53 | 69 |  | 2.0866 | 2.7165 | 0
FSPDB3A | Mersen | FSPDB3A | PDB Finger-safe, 310A, 1500 V, 1x350-6, 1x2/0-14, 8x2-14 |  | 47 | 101 |  | 1.8504 | 3.9764 | 0
RM35TF36 | Schneider Electric | RM35TF36 | PHASE MONITOR RELAY, 3 PHASE, 480-690 VAC |  | 35 | 90 |  | 1.378 | 3.5433 | 0
3RV2011-4AA10-0BA0 | Siemens | 3RV2011-4AA10-0BA0 | MANUAL MOTOR PROTECTOR, 10-16A ADJUSTABLE, 600VAC, THERMAL/MAGNETIC TRIP |  | 45 | 97 |  | 1.7717 | 3.8189 | 0
3RA2921-1AA00 | Siemens | 3RA2921-1AA00 | CONNECTION BRACKET FOR MOTOR STARTER (S00, S0) AND CONTACTOR (S0) |  | 45 | 47 |  | 1.7717 | 1.8504 | 0
3RT2025-1AK60 | Siemens | 3RT2025-1AK60 | CONTACTOR, 3NO+1NO-1NC AUX. CONTACT, 40A, 120VAC |  | 45 | 85 |  | 1.7717 | 3.3465 | 0
ENHE=TS-NO-60C-ALFA | Alfa Electric | THV2 | THERMOSTAT NO 0/+60 °C FOR VENTILATION |  | 34 | 61 |  | 1.3386 | 2.4016 | 0
TEQC=16P-690V-40A | SVLEC | HWK-6/6 | MALE AND FEMALE QUICK CONNECTOR, 40A / 16A, 690V / 400V, 16 PIN |  | 34 | 84 |  | 1.3386 | 3.3071 | 0
SPCO=CM-220VAC | Tavrida Electric | TNA_CM_16_1(220) | VC CONTROL MODULE, 110-220 V AC/DC |  | 190 | 165 |  | 7.4803 | 6.4961 | 0
ELCO=UR20-4DO-P | Weidmüller | UR20-4DO-P | UC20 4-CHANNEL DIGITAL OUTPUT MODULE |  | 11.5 | 120 |  | 0.45276 | 4.7244 | 0
ENHE=600W-FAN-115V-DIN-ALFA | Alfa Electric | TMX600.10 | HEATER, 120 VAC, 600W, DIN-RAIL |  | 67 | 88 |  | 2.6378 | 3.4646 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0
[8 empty] | 0 | 0 | 0